## Sheet
link | type | Description | Benefits | Specification | Kit Components
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/4in1-melamine-beta-lactams-cephalexin-tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Melamine, Beta-lactams, Cephalexin and Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 12mins. Detect Melamine,Beta-lactams, Cephalexin and Tetraacyclines. Incubate at 40±2 °C. Good compliance with EU, CODEX and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/4in1-beta-lactams-streptomycin-chloramphenicol-and-tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Beta-lactams, Streptomycin, Chloramphenicol and Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 12mins. Detect Beta-lactams, Streptomycin, Chloramphenicol and Tetracyclines. Incubate at 40±2 °C. Good compliance with Customs Union regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/macrolide-3in1-erythromycin-lincomycin-tylosintilmicosin | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Erythrocin, Lincomycin, Tylosin & Tilmicosin in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 10mins. Detect Erythromycin, Lincomycin, Tylosin & Timicosin. Incubate at 40±2 °C. Good compliance with EU, CODEX, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/3in1-amino-streptomycin-gentamycin-neomycin | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Streptomycin & Dihydrostreptomycin, Gentamycin and Neomycin in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 9mins Detect Streptomycin, Gentamycin and Neomycin. Incubate at 40±2 °C. Good compliance with EU, CODEX, and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/3in1-beta-lactams-sulfonamides-and-tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Beta-lactams, Sulfonamides and Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 9mins. Detect Beta-lactams, Sulfanomides and Tetracyclines. Incubate at 40±2 °C. Good compliance with EU, CODEX and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/2in1-beta-lactams-cefalexin | Milk Antibiotic Rapid Test | This rapid test is used for detection of Beta-lactams and Cefalexin in milk based on the colloidal gold immunochromatography technology. Application : milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 8mins. Detect Beta-lactams and Cefalexin. Incubate at 40±2 °C. Good compliance with EU, CODEX, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/2in1-beta-lactams-and-tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Beta-lactams and Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 8mins. Detect Beta-lactams and Tetracyclines. Incubate at 40±2 °C. Good compliance with EU, CODEX, FDA, SFDA and Customs Union regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/2in1-beta-lactams-cefalexin-and-tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection and discrimination of Beta-lactams, Cefalexin and Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 9mins. Detect Beta-lactams, Cefalexin and Tetracyclines. Incubate at 40±2 °C. Good compliance with EU, CODEX, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/tetracyclines | Milk Antibiotic Rapid Test | This rapid test is used for detection of Tetracyclines in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6-8mins. Detect Tetracyclines. Incubate at 40±2 °C. Good compliance with EU , CODEX, FDA, SFDA and Customs Union regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/melamine | Milk Antibiotic Rapid Test | This rapid test is used for detection of Melamine in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6mins. Detect Melamine. Incubate at 40±2 °C. Good compliance with EU and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/aflatoxin-m1 | Milk Antibiotic Rapid Test | This rapid test is used for detection of Aflatoxin M1 in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 7-10mins. Detect Aflatoxin M1. Incubate at 40±2 °C. Good compliance with EU, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/gentamicin | Milk Antibiotic Rapid Test | This rapid test is used for detection of Gentamicin in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6-8mins. Detection of Gentamicin. Incubate at 40±2 °C. Good compliance with EU, CODEX, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/chloramphenicol | Milk Antibiotic Rapid Test | This rapid test is used for detection of Chloramphenicol in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 14mins. Detect Chloramphenicol. Incubate at 40±2 °C. Good compliance with EU, CODEX,FDA and Customs Union regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/sulpyrine-dipyrone-metamizole | Milk Antibiotic Rapid Test | This rapid test is used for detection of Metamizole and its metabolite residues in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6mins. Detect Mitamizole and its metabolite. Incubate at 40±2 °C. Good compliance with EU and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/beta-lactams | Milk Antibiotic Rapid Test | This rapid test is used for detection of Beta-lactams in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 5mins. Detect Beta-lactams. Incubate at 40±2 °C. Good compliance with EU , CODEX, FDA and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/beta-lactamase | Milk Antibiotic Rapid Test | This rapid test is used for detection of Beta-lactamase in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 12mins. Detect Beta-lactamase. Incubate at 40±2 °C. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/sulfonamides | Milk Antibiotic Rapid Test | This rapid test is used for detection of Sulfonamides in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6mins. Detect Sulfanomides. Incubate at 40±2 °C. Good compliance with EU, CODEX and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/fluroquinolones | Milk Antibiotic Rapid Test | This rapid test is used for detection of Fluroquinolones in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. From cow, buffalo, ewe, goat, mare. | Benefits Results in 6mins. Detect Fluroquinolones. Incubate at 40±2 °C. Good compliance with EU and SFDA regulations. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/dexamethasone | Milk Antibiotic Rapid Test | This rapid test is used for detection of Dexamethasone, Betamethasone, Hydrocortisone and Fludrocortisone in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 12mins. Detect Dexamethasone. Incubate at 40±2 °C. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/trimethoprim | Milk Antibiotic Rapid Test | This rapid test is used for detection of Trimethoprim in milk based on the colloidal gold immunochromatography technology. Application : Raw milk, pasteurized milk and full cream milk powder. Milk from cow, buffalo, ewe, goat, mare. | Benefits Results in 6mins. Detect Trimethoprim. Incubate at 40±2 °C. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-antibiotic-rapid-test/goat-milk-adulteration | Milk Antibiotic Rapid Test | This rapid test is used for detection of cow milk based on the colloidal gold immunochromatography technology. Application:It is applicable to detect the presence of cow milk in fresh goat milk or milk powder. The added cow milk in form of fresh cow milk,milk powder, UHT milk powder, modified cow milk can all be detected. | Benefits Results in 6mins. Detect cow milk. Incubate at 40±2 °C. | 96Test/Kit | 12 test tubes, each containing 1 strip of 8 red reagent microwells and 8 dipsticks.;1PC pipette(200μL), 100PCs pipette tips.;Positive standards and negative standards.;1 instruction manual.;
https://www.indifoss.com/chemical-safety/milk-pesticides-screening/carbendazim-rapid-test-for-pesticides-milk | Milk Pesticides Screening | In agriculture, crops like fruits, vegetables and cereals are treated with different types of pesticides. | From polluted grass, corn, silage and through pesticides direct application on cattle, these chemicals accumulate in the cattle milk. These pesticides cause a wide range of toxic effect and pose very severe health risks, specifically in infants, who have less developed metabolic and enzymatic systems. In this way, pesticides residues screening is very essential for the safety of consumer health and to achieve the food safety in our country. This rapid test is used for detection of Carbendazim in milk based on the colloidal gold immunochromatography technology. It takes about min for one test. Benefits Rapid Results in 8 Minutes Sensitive User Friendly Visual Interpretation Cost Effective Accurate & Reliable
https://www.indifoss.com/chemical-safety/milk-pesticides-screening/carbaryl-rapid-test-for-pesticides-in-milk | Milk Pesticides Screening | In agriculture, crops like fruits, vegetables and cereals are treated with different types of pesticides. | From polluted grass, corn, silage and through pesticides direct application on cattle, these chemicals accumulate in the cattle milk. These pesticides cause a wide range of toxic effect and pose very severe health risks, specifically in infants, who have less developed metabolic and enzymatic systems. In this way, pesticides residues screening is very essential for the safety of consumer health and to achieve the food safety in our country. Carbaryl Rapid Test for Pesticides in Milk is used for detection of Carbaryl in milk based on the colloidal gold immunochromatography technology. It takes about 8 min for one test. Benefits Rapid Results in 8 Minutes Sensitive User Friendly Visual Interpretation Cost Effective Accurate & Reliable
https://www.indifoss.com/chemical-safety/milk-pesticides-screening/imidacloprid-rapid-test-for-pesticides-in-milk | Milk Pesticides Screening | In agriculture, crops like fruits, vegetables and cereals are treated with different types of pesticides. | From polluted grass, corn, silage and through pesticides direct application on cattle, these chemicals accumulate in the cattle milk. These pesticides cause a wide range of toxic effect and pose very severe health risks, specifically in infants, who have less developed metabolic and enzymatic systems. In this way, pesticides residues screening is very essential for the safety of consumer health and to achieve the food safety in our country. Imidacloprid Rapid Test for Pesticides in Milk is used for detection of Imidacloprid in milk based on the colloidal gold immunochromatography technology. It takes about 8 min for one test. Benefits Rapid Results in 8 Minutes Sensitive User Friendly Visual Interpretation Cost Effective Accurate & Reliable
https://www.indifoss.com/chemical-safety/milk-pesticides-screening/paraquat-rapid-test-for-pesticides-in-milk | Milk Pesticides Screening | In agriculture, crops like fruits, vegetables and cereals are treated with different types of pesticides. | From polluted grass, corn, silage and through pesticides direct application on cattle, these chemicals accumulate in the cattle milk. These pesticides cause a wide range of toxic effect and pose very severe health risks, specifically in infants, who have less developed metabolic and enzymatic systems. In this way, pesticides residues screening is very essential for the safety of consumer health and to achieve the food safety in our country. Paraquat Rapid Test for Pesticides in Milk is used for detection of Imidacloprid in milk based on the colloidal gold immunochromatography technology. It takes about 8 min for one test. Benefits Rapid Results in 8 Minutes Sensitive User Friendly Visual Interpretation Cost Effective Accurate & Reliable
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/thiabendazole-rapid-test-kit | Pesticides Rapid Test | A capillary electrophoresis method was developed to quantify thiabendazole in various fruits and vegetables.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/carbendazim-rapid-test-kit | Pesticides Rapid Test | Carbendazim Rapid Test Kits are intended to use as a rapid method to detect the presence of carbendazim in agricultural products.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/probiotics-rapid-test-kit | Pesticides Rapid Test | Probiotics are defined as live bacteria with beneficial effects to the health of the host organism.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/endosulfan-organochlorines-rapid-test-kit | Pesticides Rapid Test | Determination of Organochlorine Pesticides Residues in Some Vegetable.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/bifenthrin-rapid-test-kit | Pesticides Rapid Test | Bifenthrin Rapid Test is used to detect Bifenthrin in agricultural products. | Pyrethroids, such as Bifenthrin (BF), are among the most widely used class of insecticides that pose serious risks to human and wildlife health. Pyrethroids are proposed to affect astrocytic functions and to cause neuron injury in the central nervous system (CNS).
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/fenpropathrin-rapid-test-kit | Pesticides Rapid Test | Fenpropathrin Rapid Test kit can be applied for on-site or lab rapid testing by various departments. | The Fenpropathrin Rapid Test for Agricultural Products is based on the Colloidal Gold Immunochromatography to detect the Fenpropathrin residues in agricultural products. Fenpropathrin is used to control a range of insects, especially mites, in fruits and vegetables.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/carbofuran-rapid-test-kit | Pesticides Rapid Test | Carbofuran Rapid Test kits are intended to use as a rapid method to detect the presence of carbofuran in agricultural products. | Carbofuran is a broad-spectrum carbamate pesticide that kills insects, mites, and nematodes on contact or after ingestion. It is used against soil and foliar pests of field, fruit, vegetable, and forest crops.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/propofol-rapid-test-kit | Pesticides Rapid Test | Propofol Rapid Test is used for detection of Propofol in vegetable & fruits. | Propofol is an intravenous anaesthetic agent used for induction and maintenance of general anaesthesia. IV administration of propfol is used to induce unconsciousness after which anaesthesia may be maintained using a combination of medications.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/2in1-isoprocarb-carbofuran-rapid-test-kit | Pesticides Rapid Test | Isoprocarb, Carbofuran 2in1 Rapid Test Kit is a system for determining carbamate insecticides.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/methyl-parathion-rapid-test-kit | Pesticides Rapid Test | Methyl Parathion Rapid Test Kit is commonly used for control of pests and diseases in vegetables.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/water-amine-thiophosphate-rapid-test-kit | Pesticides Rapid Test | Amines are used as neutralizing agents for condensation water in boiler treatment. This helps to control corrosion.This water test kit is available in two ranges as two separate kits. Both give results in terms of cyclohexamine
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/chlorpyrifos-rapid-test-kit | Pesticides Rapid Test | The Chlorpyrifos Rapid Test Kit is an immunoassay for the detection of chlorpyrifos in contaminated samples of vegetables and fruit. | Chlorpyrifos is an organophosphate pesticide used to kill a number of pests including insects and worms. Chlorpyrifos is used around the world to control insects in agricultural, residential and commercial settings. Chlorpyrifos exposure may lead to acute toxicity at higher doses. Persistent health effects follow acute poisoning or from long-term exposure to low doses, and developmental effects appear in fetuses and children even at very small doses.
https://www.indifoss.com/chemical-safety/pesticides-rapid-test/organophosphorus-rapid-test-kit | Pesticides Rapid Test | Organophosphorus Rapid Test is used for detection of residues of organophosphorus and carbamate pesticides in vegetable, fruit, water and so on.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/aflatoxins | Cereals & Feed Rapid Test | This rapid test is used for detection of Aflatoxins in cereals, feed and the feed raw materials based on the colloidal gold immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 7-10mins for sample preparation and 12mins for detection for one test. | Results in 19-22mins. Detect Aflatoxin. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/t-2-toxin | Cereals & Feed Rapid Test | This rapid test is used for detection of T-2 toxin in cereals, feed and feed raw materials based on the colloidal gold immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 7-10mins for sample preparation and 7mins for detection for one test. | Results in 14-17mins. Detect T-2 Toxin. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/don | Cereals & Feed Rapid Test | Bioeasy Biotechnology Co., Ltd. has developed DON Quantitative Rapid Test kit that allows you to detect and discriminate Deoxynivalenol in Cereals, feed and feed raw materials. The whole process can be divided into two parts: The samples preparation and the detection; • The samples preparation takes around 7-10 minutes, and • The testing takes 6 minutes | Results in 13-16mins. Detect Deoxyniyalenol . Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/zen | Cereals & Feed Rapid Test | This rapid test is used for detection of Zearalenone in cereals,feed and feed raw mateirals based on the colloidal gold immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 7-10mins for sample preparation and 6mins for detection for one test. | Results in 13-16mins. Detect Zearalenone. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/fumonisin-b1 | Cereals & Feed Rapid Test | This rapid test is used for detection of Fumonisin B1 in cereals, feed and feed raw materials based on the colloidal gold immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 7-10mins for sample preparation and 6mins for detection for one test. | Results in 13-16mins. Detect Fumonisin B1. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/cereals-feed-rapid-test/ochratoxin | Cereals & Feed Rapid Test | This rapid test is used for detection of Ochratoxin in feed and feed raw materials based on the colloidal gold immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 7-10mins for sample preparation and 8mins for detection for one test. | Results in 15-18mins. Detect Ochratoxin. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/honey-antibiotic-rapid-test/chloramphenicol-0.1ppb | Honey Antibiotic Rapid Test | This rapid test is used for detection of Chloramphenicol residues in Honey based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection.It takes about 25mins for one test. | Results in 25mins. Detect Chloramphenicol. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/honey-antibiotic-rapid-test/sulfonamides | Honey Antibiotic Rapid Test | This rapid test is used for detection of Sulfonamides in food based on the Colloidal Gold Immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 15-30mins for one test. For chicken, duck, goose, beef, fish, and other muscle tissue, eggs, honey and urine samples. | Results in 15-30mins. Detect Sulfanomides. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/honey-antibiotic-rapid-test/tetracycline-5-10ppb | Honey Antibiotic Rapid Test | This rapid test is used for detection of tetracycline residues in Honey based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection.It takes about 25mins for one test. | Results in 25mins. Detect Tetracyclines. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/honey-antibiotic-rapid-test/quinolones | Honey Antibiotic Rapid Test | This rapid test is used for detection of Quinolones in food based on the Colloidal Gold Immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 15-30mins for one test. Application: For chicken, duck, goose, beef, fish, and other muscle tissue, eggs, honey and urine samples. | Results in 15-30mins. Detect Quinolones. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/malachite-green | Meat & Seafood Rapid Test | This rapid test is used for detection of Malachite Green residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection.It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Malachite Green. Incubate at Room Temperature(20-40v or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/chloramphenicol | Meat & Seafood Rapid Test | This rapid test is used for detection of Chloramphenicol residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection. It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Chloramphenicol. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/nitrofurantoin-metabolite-ahd | Meat & Seafood Rapid Test | This rapid test is used for detection of Nitrofurantoin Metabolite (AHD) residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection. It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Nitrofurantoin Metabolite (AHD). Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/nitrofurazone-metabolite-sem | Meat & Seafood Rapid Test | This rapid test is used for detection of Nitrofurazone Metabolite (SEM) residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection. It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Nitrofurazone Metabolite (SEM). Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/tetracyclines | Meat & Seafood Rapid Test | This rapid test is used for detection of Tetracyclines in food based on the Colloidal Gold Immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 15-20mins for one test. Application: For chicken, duck, goose, lamb,beef, fish, pork liver and other muscle tissue. | Results in 15-20mins. Detect Tetracyclines. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/clenbuterol-ractopamine-and-salbutamol | Meat & Seafood Rapid Test | This rapid test is used for detection of Clenbuterol, Ractopamine and Salbutamol residues in tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection. It takes about 20-25mins for one test. Application: Swine, chicken, duck, goose, beef and liver tissue sample. | Results in 20-25mins. Detect Clenbuterol, Ractopamine and Salbutamol. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/furaltadone-metabolite-amoz | Meat & Seafood Rapid Test | This rapid test is used for detection of Furaltadone Metabolite (AMOZ) residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection.It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Furaltadone Metabolite (AMOZ). Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/furazolidone-metabolite-aoz | Meat & Seafood Rapid Test | This rapid test is used for detection of Furazolidone Metabolite (AOZ) residues in the tissue based on the Colloidal Gold Immunochromatography technology. The whole process includes three parts: sample preparation, sample extraction and detection. It takes about 25mins for one test. Application: For all the livestock and seafood tissue. | Results in 25mins. Detect Furazolidone Metabolite (AOZ). Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/sulfonamides | Meat & Seafood Rapid Test | This rapid test is used for detection of Sulfonamides in food based on the Colloidal Gold Immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 15-30mins for one test. For chicken, duck, goose, beef, fish, and other muscle tissue, eggs, honey and urine samples. | Results in 15-30mins. Detect Sulfanomides. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/meatseafood-rapid-test/quinolones | Meat & Seafood Rapid Test | This rapid test is used for detection of Quinolones in food based on the Colloidal Gold Immunochromatography technology. The whole process includes two parts: sample preparation and detection. It takes about 15-30mins for one test. Application: For chicken, duck, goose, beef, fish, and other muscle tissue, eggs, honey and urine samples. | Results in 15-30mins. Detect Quinolones. Incubate at Room Temperature(20-40 °C or 40±2 °C by incubator when Room Temperature is below 20 °C.
https://www.indifoss.com/chemical-safety/elisa-test-kits-for-seafood/nitrofurazone-metabolite-sem-elisa-test-kit- | ELISA Test Kits for Seafood | Product Code | Product Introduction This kit uses an indirect competitive ELISA method. The microwell strip is pre-coated with the coupled antigen. The Nitrofurazone Metabolite in the sample will compete with the anti- Nitrofurazone Metabolite antibody pre-coated with the microwell strip. After the reaction, the unbound reagents are washed to remove the unbound reagents, and the color of the TMB substrate is developed. The absorbance of the sample is negatively correlated with the content of the Nitrofurazone Metabolite contained in the sample. The content of the corresponding residue Nitrofurazone Metabolite can be obtained by comparison with the standard curve. Scope of Application It can qualitatively and quantitatively detect the residual amount of Nitrofurazone Metabolite in eggs, aquatic products and animal tissues (chicken, chicken skin, chicken cartilage, pork, pork liver, ham sausage, etc.), honey and other samples.
https://www.indifoss.com/chemical-safety/elisa-test-kits-for-seafood/chloramphenicol-elisa-test-kit | ELISA Test Kits for Seafood | Product Code : YR200501 | Product Introduction This kit adopts indirect competition ELISA method, precoated with conjugated antigen on the microwell strip, Chloramphenicol in the sample will compete with the precoated conjugated antigen on the microwell strip for anti-Chloramphenicol antibody, add enzyme to bind After the test, the color is developed with TMB substrate. The absorbance of the sample is negatively correlated with the content of Chloramphenicol contained in the sample. Compared with the standard curve, the corresponding content of Chloramphenicol can be obtained. Scope of Application Qualitative and quantitative detection of Chloramphenicol residues in animal tissues (chicken, pork, chicken skin, chicken brittle bones, etc.), ham sausage, honey and other samples.
https://www.indifoss.com/chemical-safety/elisa-test-kits-for-seafood/furazolidone-metabolite-aoz-elisa-test-kit | ELISA Test Kits for Seafood | Product Code : YR200101 | Product Introduction This kit uses an indirect competitive ELISA method. The microwell strip is pre-coated with the coupled antigen. The Furazolidone metabolite in the sample will compete with the anti- Furazolidone metabolite antibody pre-coated with the microwell strip. After the reaction, the unbound reagents are washed to remove the unbound reagents, and the color of the TMB substrate is developed. The absorbance of the sample is negatively correlated with the content of the Furazolidone Metabolite contained in the sample. The content of the corresponding residue Furazolidone metabolite can be obtained by comparison with the standard curve. Scope of Application It can qualitatively and quantitatively detect the residual amount of Furazolidone metabolites in eggs, aquatic products and animal tissues (chicken, chicken skin, chicken cartilage, pork, pork liver, ham sausage, etc.), honey and other samples.
https://www.indifoss.com/chemical-safety/elisa-test-kits-for-seafood/furaltadone-metabolite-amoz-elisa-test-kit | ELISA Test Kits for Seafood | Product Code : | Product Introduction This kit uses an indirect competitive ELISA method. The microwell strip is pre-coated with the coupled antigen. The Furaltadone Metabolite in the sample will compete with the anti- Furaltadone Metabolite antibody pre-coated with the microwell strip. After the reaction, the unbound reagents are washed to remove the unbound reagents, and the color of the TMB substrate is developed. The absorbance of the sample is negatively correlated with the content of the Furaltadone Metabolite contained in the sample. The content of the corresponding residue Furaltadone Metabolite can be obtained by comparison with the standard curve. Scope of Application It can qualitatively and quantitatively detect the residual amount of Furaltadone Metabolite in eggs, aquatic products and animal tissues (chicken, chicken skin, chicken cartilage, pork, pork liver, ham sausage, etc.), honey and other samples.
https://www.indifoss.com/chemical-safety/elisa-test-kits-for-seafood/nitrofurantoin-metabolite-ahd-elisa-test-kit- | ELISA Test Kits for Seafood | Product Code : | Product Introduction This kit uses an indirect competitive ELISA method. The microwell strip is pre-coated with the coupled antigen. The Nitrofurantoin Metabolite in the sample will compete with the anti- Nitrofurantoin Metabolite antibody pre-coated with the microwell strip. After the reaction, the unbound reagents are washed to remove the unbound reagents, and the color of the TMB substrate is developed. The absorbance of the sample is negatively correlated with the content of the Nitrofurantoin Metabolite contained in the sample. The content of the corresponding residue Nitrofurantoin Metabolite can be obtained by comparison with the standard curve. Scope of Application It can qualitatively and quantitatively detect the residual amount of Nitrofurantoin Metabolite in eggs, aquatic products and animal tissues (chicken, chicken skin, chicken cartilage, pork, pork liver, ham sausage, etc.), honey and other samples.