## Sheet
link | type | products name | descriptiom
https://www.forestry-suppliers.com/product_pages/products.php?mi=20020&itemnum=78089 | Water Test kit | LaMotte Urban Water Quality Test Kit | LaMotte® Urban Water Quality Test Kit This kit brings awareness to the urban environmental issues. Provides a hands-on introduction to the basic concepts of water chemistry and environmental awareness in urban areas. Methods are suitable for testing drinking water, run-off, and street puddles. All of the necessary equipment is included to test for the following test factors using our non-hazardous Testab methods—Chlorine, Copper, Iron, Hardness, Nitrate, pH, Phosphates, and Temperature. A comprehensive handbook is also included. Recommended for ages 6 and up.
https://www.forestry-suppliers.com/product_pages/products.php?mi=65831&itemnum=76927 | Water Test kit | Lamotte Water Quality Educator and Monitoring Outfit | LaMotte® Water Quality Monitoring Outfit Includes informative handbook and CD-ROM This outfit stresses the importance of using analytical methods and encourages proper field investigation techniques by use of representative sampling, careful observation, accurate record keeping, and systematic measurement to plot changing conditions. Outfit contains seven basic water quality test factors including: pH, nitrate-nitrogen, phosphate, dissolved oxygen, alkalinity (total), turbidity, and temperature. Each test module includes the necessary apparatus and reagents to perform 50 tests and also includes complete instructions. Individual modules allow teams of students to perform water quality analyses at the same time at one or more testing sites. Outfit housed in a sturdy, rugged field carrying case. Also included is The Monitor’s Handbook, a 64-page reference guide for water quality analysis in natural aquatic systems, and The Water Quality Educator CD-ROM (for PC or Mac), an interactive CD which offers step-by-step instructions for water quality test procedures.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33185&itemnum=78078 | Water Test kit | Hach CEL Environmental Water Quality Laboratory | Hach® CEL Environmental Water Quality Laboratory Get reliable, on-the-spot results with this portable lab! The included Hach DR 900 Multiparameter Colorimeter lets you run tests immediately without concern for sample preparation and handling. Test parameters include: Acidity, Alkalinity, Carbon Dioxide, Free Chlorine, Total Chlorine, Hardness, Iron, Manganese, Nitrate, Nitrite, Phosphorus, Sulfide/Hydrogen Sulfide, Tannin and Lignin, and Zinc. Includes DR 900 Colorimeter, digital titrator, reagent sets, testing apparatus, illustrated manual, procedure manual CD, and hard-sided field case.
https://www.forestry-suppliers.com/product_pages/products.php?mi=50301&itemnum=77907 | Water Test kit | WaterMark Water Sampler Field Kit with Vertical Water Bottle | WaterMark® Water Sampler Field Kit Ideal for water sampling at any depth, zooplankton collections, and secchi disc transparency measurements. Kit includes: clear polycarbonate 1.0 liter water sampler, 200g messenger, 20 cm limnological secchi disc; armored thermometer (liquid spirit filled, -5°C to +40°C in 0.5° increments); student plankton net (20 cm diameter x 60 cm length x 153 µm); three 20.0m nylon cords, line reels, a spare latex internal closure, plastic carrying case, and instructions.
https://www.forestry-suppliers.com/product_pages/products.php?mi=54210&itemnum=78077 | Water Test kit | Hach Surface Water Test Kit | Hach® Surface Water Test Kit An excellent choice for source water monitoring as well as industrial and municipal water treatment plants! Using accurate, economical drop count titration and color disc methods, this kit tests for ammonia (0 to 2.4 mg/L), chlorine (0 to 3.4 mg/L), pH (0 to 14), nitrate (0 to 40 mg/L), dissolved oxygen (0.2 to 20 mg/L), phosphorus (0 to 40 mg/L), and temperature. This rugged, lightweight kit includes the Hach pH Pocket Pro Tester and all necessary apparatus and reagents for performing 100 tests. Carrying case also included.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33281&itemnum=78052 | Water Test kit | Dissolved Oxygen | CHEMets® Dissolved Oxygen Water Test Kit Self-filling ampoules for testing dissolved oxygen contents of water. Designed for low-to-medium-range colorimetric analysis, each kit includes 30 prescored ampoules filled with reagents sealed under vacuum, color comparators, a snap cup, and instructions to perform 30 tests. Results are expressed as ppm O2.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33241&itemnum=77120 | Water Test kit | LaMotte Water Pollution Detection Kit | LaMotte® Water Pollution Detection Kit Designed for examining water quality in known or suspected polluted aquatic environments, this kit includes individual test modules and all necessary apparatus for seven key test factors. Includes titration tests for dissolved oxygen only (range, 0 to 10.0 ppm; 50 tests) and colorimetric tests for the following: chlorine (range, 0.2 to 3.0 ppm; 50 tests), pH (range, 3 to 10.5; 100 tests), nitrate-nitrogen (range, 0.2 to 1.0 ppm; 40 tests), phosphate (range, 0.2 to 1.0 ppm; 50 tests), ammonia-nitrogen (range, .25 to 4.0 ppm; 50 tests), and temperature (range, -5°C to 45°C). The kit also includes three handbooks: A Study of Water Quality, Our Environment Battles Water Pollution, and Investigating Water Problems. A field-friendly tote allows for convenient storage and transport.
https://www.forestry-suppliers.com/product_pages/products.php?mi=37861&itemnum=77038 | Water Test kit | Coliscan Water Monitoring Kit | Coliscan Water Monitoring Kit With a patented combination of color-producing chemicals and nutrients, Coliscan allows for easy visual identification of coliforms and E. coli in water. When a water sample is added to the Coliscan medium, coliform bacteria grow as pink-magenta colonies, and E. coli grow as purple-blue colonies. Other bacteria usually grow as non-colored colonies. Ideal for sample sizes of 1 to 5 ml, this method uses Coliscan Easygel to test river water or other samples which have a sizable population of coliforms and/or E. coli. Just add the water sample (up to 5 ml) directly to the bottle of Coliscan Easygel, swirl, pour into a pre-treated Easygel petri dish, and incubate to obtain results. Kit includes 10 Coliscan Easygel bottles, 10 pre-treated Easygel petri dishes, 10 1 ml droppers, 10 sterile 30 ml collection bottles, and instructions. Performs 10 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33282&itemnum=78054 | Water Test kit | Nitrate | CHEMets® Nitrate Nitrogen Water Test Kit Self-filling ampoules for testing dissolved nitrate contents of water. Designed for low-to-medium-range colorimetric analysis, each kit includes 30 prescored ampoules filled with reagents sealed under vacuum, color comparators, a snap cup, and instructions to perform 30 tests. Results are expressed as ppm NO3-N.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33231&itemnum=76612 | Water Test kit | LaMotte Shallow Water Test Kit | LaMotte® Shallow Water Test Kit For use where Secchi disc readings are not feasible. Turbidity is measured by direct comparison of sample water to turbidity standards selected to match formazin standards. Also allows you to accurately test for dissolved oxygen, temperature, pH, and turbidity. Measures dissolved oxygen from 0 to 10 ppm; readable to 0.1 ppm. Thermometer measures temperature from -5°C to +45°C in 0.5° increments. Two octet comparators are used to measure pH from 3.0 to 10.5 in 0.5 increments.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33291&itemnum=77167 | Water Test kit | LaMotte Limnology Water Test Set | LaMotte® Limnology Water Test Set Tests for dissolved oxygen, combination nitrate-phosphate, wide range pH, silica, calcium-magnesium, total hardness, carbon dioxide. Includes 40 Nitrate tests and 50 of the others. Various components for the chemical tests are housed in six individual cases which can be distributed to teams of students on field trips. Sampling bottles and analysis report forms are included. All items are mounted in a rugged, waterproof carrying case.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33283&itemnum=78056 | Water Test kit | Phosphate | CHEMets® Phosphate Water Test Kit Self-filling ampoules for testing dissolved phosphate contents of water. Designed for low-to-medium-range colorimetric analysis, each kit includes 30 prescored ampoules filled with reagents sealed under vacuum, color comparators, a snap cup, and instructions to perform 30 tests. Results are expressed as ppm PO4.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78001 | Water Test kit | Free Chlorine Water Check Test Strips | Range of 0, 0.05, 0.1, 0.2, 0.4, 0.6, 0.8, 1.2, 1.2, 1.5, 2, 2.6, 4. Color chart printed on the bottle. Bottle of 50. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=78053 | Water Test kit | CHEMets Water Test Kit Refill
https://www.forestry-suppliers.com/product_pages/products.php?mi=29290&itemnum=78027 | Water Test kit | eXact Eco-Check Water Test Kit | eXact® Eco-Check™ Water Test Kit Produces lab-quality accuracy at minimal cost! Developed for pond and aquaria testing, this dual wavelength photometer automatically selects the optimal wavelength for each test. The patented EZ-3™ Reagent Delivery Method offers precise reagent dispersion into samples without color matching, drop counting, or tablet crushing. The kit includes 25 tests for these parameters: total alkalinity, ammonia, chloride (salt), free chlorine, total chlorine, copper, total hardness, nitrate, nitrite, pH in fresh water, pH in salt water, and phosphate. Each test has a 0.01 ppm (mg/L) precision. The meter features an automatic test timer, 220 test memory (saves last 20 tests per menu), auto calibration, long-life LEDs, a built-in cell, and an IP67 waterproof-rated housing. The kit also includes a mini dilution kit, one mixing cap, one cell cleaning brush, an instruction booklet, and a plastic carrying case. Two-year manufacturer’s warranty.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33301&itemnum=76318 | Water Test kit | LaMotte Salt Water Aquaculture Test Kit Model AQ-4 | LaMotte® Salt Water Test Kit Provides equipment to monitor nine parameters including ammonia nitrogen, nitrate nitrogen, nitrite nitrogen, pH, alkalinity, carbon dioxide, dissolved oxygen, salinity, and temperature. Reagents, labware, and accessories are mounted in ethafoam for convenient test selection and portability. Short form lid instructions are available for quick reference, and a long form booklet provides detailed instructions with kit diagram. Supplied complete with labware, accessories, sampling bottles, and reagents for 50 tests.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77168 | Water Test kit | LaMotte Limnology Water Test Set Refill | Refill unit contains all of the chemical reagents of the LaMotte AM-02 Limnology Water Test Set.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=78055 | Water Test kit | CHEMets Water Test Kit Refill
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76319 | Water Test kit | LaMotte Salt Water Aquaculture Test Kit Model AQ-4 Refill | Includes reagent refills for the LaMotte Salt Water Test Kit.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=78057 | Water Test kit | CHEMets Water Test Kit Refill
https://www.forestry-suppliers.com/product_pages/products.php?mi=33311&itemnum=76320 | Water Test kit | LaMotte Freshwater Aquaculture Test Kit Model AQ-2 | LaMotte® Freshwater Aquaculture Test Kit A complete test kit for pond fish culture Ideal for freshwater analysis. Allows you to make nine critical test factors efficiently and accurately in the field. Unit is supplied complete with labware, accessories, sampling bottle, and reagents for 50 tests of each factor.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94824 | Water Test kit | LaMotte SMART Reagents | Total Hardness, 10 – 400 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33252&itemnum=77411 | Water Test kit | LaMotte Total Coliform and E. coli Bacteria Test Kit | LaMotte® Total Coliform and E. coli Bacteria Test Kit A portable, easy way to test for the presence of total coliform and E. coli bacteria in drinking water! No incubation equipment is required, and results are available in 44 to 48 hours at room temperature (24 hours if warm). The kit includes five glass tubes, each containing one test tablet. Coliform bacteria activity is indicated by a color change and the formation of gas bubbles in the gel substance within the tube. The sample will have a fluorescent blue glow when exposed to UV light if E. coli is present (UV penlight included). A sterile water sampling bag with a dechlorinating tablet is also included for chlorine removal. Performs one test.
https://www.forestry-suppliers.com/product_pages/products.php?mi=332713&itemnum=77150 | Water Test kit | Lamotte Precision pH Test Kit | pH Environmental Test Kit Octet comparator method, uses wide range pH indicator, range 3.0 – 10.5 pH units (values 3.0, 3.5, 4.0, 4.5, 5.0, 5.5, 6.0, 6.5, 7.0, 7.5, 8.0, 8.5, 9.0, 9.5, 10.0, 10.5), one reagent, makes 100 tests, two to three minutes per test, 5.0 ml sample.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33322&itemnum=76622 | Water Test kit | LaMotte TesTab Reagent Test Kit | Nitrate-Nitrogen LaMotte TesTab® Reagent Test Kit Includes convenient pre-measured tablet reagents. This tablet test kit measures nitrate-nitrogen in a third of the time required by other nitrate kits. Tablets eliminate the use of cadmium. Octa-Slide color comparator included. Replacing traditional liquid reagents with pre-measured tablet reagents simplifies and speeds up the testing process. Each kit includes easy-to-handle plastic test tubes with spill-proof caps and tablets for 50 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78102 | Water Test kit | Nitrate/Nitrite Nitrogen Test Strips | Nitrate range: 0.0, 0.5, 2, 5, 10, 20, 50 ppm; Nitrite range: 0.15, 0.3, 0.3, 0.9, 1.5, 3. Color chart printed on the bottle. Bottle of 50. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94834 | Water Test kit | LaMotte SMART Reagents | Nitrate, 0 – 3.0 ppm, 20 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54193&itemnum=78047 | Water Test kit | Hach Nitrate and Nitrite Test Strips | Range: Nitrate, 0 to 50 mg/L; Nitrite, 0 to 3.0 mg/L. Increments: Nitrite, 0, 0.15, 0.3, 1, 1.5, 3 mg/L; Nitrate, 0, 1, 2, 5, 10, 20, 50 mg/L. Hach® Nitrate and Nitrite Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76633 | Water Test kit | LaMotte TesTab Reagent Refill Tablet Kit
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94848 | Water Test kit | LaMotte SMART Reagents | Lead, 0 – 5.0 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54195&itemnum=78049 | Water Test kit | Hach Ammonia (Nitrogen) Test Strips | Range: 0 to 6 ppm. Increments: 0, 0.25, 0.5, 1.0, 3.0, 6.0 ppm. Hach® Ammonia (Nitrogen) Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=54192&itemnum=78038 | Water Test kit | Hach Total Hardness Test Strips | Range: 0 to 425 ppm. Increments: 0, 25, 50, 120, 250, 425 ppm. Hach® Total Hardness Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33277&itemnum=77155 | Water Test kit | LaMotte Environmental Test Kit | Iron Environmental Test Kit Octet comparator method, uses bipyridal as the indicator reagent, tests dissolved, suspended and colloidal iron (total iron), range 0.5 to 10.0 ppm (values 0.5, 1.0, 2.0, 3.0, 4.0, 6.0, 8.0, 10.0 ppm), two reagents make 90 tests, three minutes per test, 5.0 ml sample.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77085 | Water Test kit | Lamotte Precision pH Test Kit Reagent Refill | Reagents: 1. Tests: 100. Range: 3.0 - 10.5 pH in units (3.0, 3.5, 4.0, 4.5, 5.0, 5.5, 6.0, 6.5, 7.0, 7.5, 8.0, 8.5, 9.0, 9.5, 10.0, 10.5).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54194&itemnum=78048 | Water Test kit | Hach pH Test Strips | Range: 4 to 9 pH. Increments: 4, 5, 6, 7, 8, 9 pH. Hach® pH (Low Range) Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33278&itemnum=77050 | Water Test kit | LaMotte Environmental Test Kit | Nitrate-Nitrogen Environmental Test Kit Meets GLOBE Specifications Cadmium reduction, octet comparator, axial reaction. Range/Sensitivity: 0, 0.2, 0.4, 0.6, 0.8, 1.0 ppm. Two reagents. 40 Tests. Meets GLOBE specifications.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78101 | Water Test kit | Lead Soil Check Test Strips | Test for lead and other heavy metals at a range of 0, 100, 200, 300, 400 ppm. 5 tests. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76539 | Water Test kit | LaMotte Freshwater Aquaculture Test Kit Model AQ-2 Refill (For Post-2015 Kits) | Refill reagents for use with the LaMotte Freshwater Aquaculture Test Kit (AQ-2 Test Kit).
https://www.forestry-suppliers.com/product_pages/products.php?mi=24092&itemnum=76436 | Water Test kit | LaMotte® BioPaddle Nutrient Agar | LaMotte® BioPaddle Nutrient Agar BioPaddles™ are flexible dual-agar paddles each containing microbe-specific media enclosed in a sterile vial. Identify and quantify microbes in air, soil, water, or any surface! BioPaddles do not require any other testing equipment – only a magnifier and warm place (35°C or incubator) are needed. All BioPaddle™ products include a free LaMotte BioPaddle Colony Identification App that lets users compare the ”unknown” microbe growth on the BioPaddle to a library of photos of ”known“ microbe colonies from 6 microhabitats (clinical, air, water, soil, surface and food). BioPaddle™ Products are packaged 10 paddles per box and include a technical information sheet.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94836 | Water Test kit | LaMotte SMART Reagents | pH, 5.0 – 9.5 ppm, 100 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54202&itemnum=78076 | Water Test kit | Hach Nitrate Test Kit | Hach® Nitrate Test Kit Model NI-11 This easy-to-use kit provides fast, reliable results. Utilizes color disc/cadmium reduction method. Results expressed as mg/L NO3. Includes color disc, comparator box and tubes, reagents, instructions, and carrying case. Kit performs 100 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=332712&itemnum=77159 | Water Test kit | Lamotte Environmental Test Kit | Note: Best suited for freshwater use. Not designed for use in salt water. Phosphate Environmental Test Kit Octet comparator method, uses the vanadate-molybdate reagent with a reducing reagent to produce a series of blue colors, dual range, range A-1.0 ppm to 10.0 ppm (values 1.0, 2.0, 3.0, 4.0, 5.0, 6.0, 8.0, 10.0 ppm), range B-10 ppm to 100 ppm (values 10, 20, 30, 40, 50, 60, 80, 100 ppm), two reagents, makes 50 tests, three minutes per test, 5.0 ml sample.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33250&itemnum=76783 | Water Test kit | Aldon Qualitative Coliform Test Kit | Aldon® Qualitative Coliform Test Kit The presence of coliforms in the intestines of warm-blooded animals are often used as indicator organisms. Their presence may indicate a possible presence of other pathogenic or disease-causing organisms. This economical and easy to use kit allows students to test for coliforms by adding a small amount of collected water to a sample tube and incubate for 24-48 hours. A distinct color change indicates that coliforms are present. Kit includes: instructions and 25 Lactose tubes to perform 25 tests.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77094 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 40. Range: 0.25 ppm - 10.0 ppm (0.25, 0.5, 1.0, 2.0, 4.0, 6.0, 8.0, 10.0 ppm).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33251&itemnum=77412 | Water Test kit | LaMotte Coliform Test Kit | LaMotte® Coliform Test Kit A simple five-tube method to indicate the presence or absence of Total Coliform Bacteria in drinking water. No incubation equipment required. Highly portable, no accessory labware required. Ideal test for well water and coliform breakthrough in distribution systems. Results compare favorably to five-tube MPN method. Includes five glass tubes marked at 10 ml level and containing one Coliform Test Tablet. Sterile water sampling bag with dechlorinating tablet is included for chlorine removal. Performs one test only. Results in 40 to 48 hours (24 hours if warm).
https://www.forestry-suppliers.com/product_pages/products.php?mi=37621&itemnum=78025 | Water Test kit | eXact Eco-Check 5-in-1 Test Strips | eXact® Eco-Check™ 5-in-1 Test Strips Test for pH, total alkalinity, total hardness, nitrate, and nitrite using just one strip Eco-Check provides easy one-dip testing of freshwater with no powders, liquids, or tablets to measure. Each strip is precisely impregnated with the chemistries needed to test for pH, total alkalinity, total hardness, nitrate, and nitrite. To use, just dip one test strip into water for 2 seconds without motion. Remove the strip, shake once to remove excess water, and wait 25 seconds. At 1 minute, match the strip to the closest colors to obtain individual results for pH, total alkalinity, total hardness, nitrate, and nitrite. Bottle of 25 test strips.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94838 | Water Test kit | LaMotte SMART Reagents | Sulfate, 0 – 100 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54196&itemnum=78051 | Water Test kit | Hach Phosphorus | Range: 0 to 50 ppm. Increments: 0, 5, 15, 30, 50 ppm. Hach® Phosphorus, Orthophosphate (Reactive) Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33321&itemnum=76623 | Water Test kit | LaMotte TesTab Reagent Test Kit | Ammonia-Nitrogen LaMotte TesTab® Reagent Test Kit Includes convenient pre-measured tablet reagents. This all-plastic ColoRuler kit uses the salicylate method, eliminating the use of mercury compounds. Tablet reagents can be used in fresh or salt water. ColoRuler color comparator included. Replacing traditional liquid reagents with pre-measured tablet reagents simplifies and speeds up the testing process. Each kit includes easy-to-handle plastic test tubes with spill-proof caps and tablets for 50 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78103 | Water Test kit | pH/Total Alkalinity Test Strips | pH range: 6.0, 6.5, 7, 7.5, 8, 8.5, 9.0 ppm; TA range: 0, 80, 80, 120, 180, 240. Color chart printed on the bottle. Bottle of 50. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33276&itemnum=77154 | Water Test kit | LaMotte Environmental Test Kit | Hardness Environmental Test Kit Direct reading titration. Determines calcium, magnesium and total hardness, uses E.D.T.A. reagent system, readings in ppm, 0-200 ppm CaCO3. Increments of 4.0. Five reagents make 50 tests, five minutes per test, 12.9 ml sample.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33279&itemnum=77101 | Water Test kit | LaMotte Environmental Test Kit | Nitrate-Nitrogen Environmental Test Kit Octet comparator uses the modified A.P.H.A. cadmium reduction method for analysis of nitrate nitrogen covering the comparator range of 0.25 to 10.0 ppm (values 0.25, 0.5, 1.0, 2.0, 4.0, 6.0, 8.0, 10.0 ppm). Two reagents, makes 40 tests, 14 minutes per test.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33272&itemnum=77145 | Water Test kit | LaMotte Environmental Test Kit | Alkalinity Environmental Test Kit Direct reading titration method for Phenolphthalein (P) and Total (T) Alkalinity, in terms of CaCO3 readings in ppm range 0-200 ppm in 4 ppm increments, three reagents. Makes 50 tests, three to five minutes per test, 10 ml sample.
https://www.forestry-suppliers.com/product_pages/products.php?mi=332716&itemnum=77012 | Water Test kit | LaMotte Environmental Test Kit | Low Range Phosphate Environmental Test Kit Ascorbic acid octet comparator with axial reader. Range/sensitivity is 0, 0.2, 0.4, 0.6, 0.8, 1.0, 1.5, 2.0 ppm. Two reagents. Makes 50 tests.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77013 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 50. Range: 0, 0.2, 0.4, 0.6, 0.8, 1.0, 1.5, 2.0 ppm.
https://www.forestry-suppliers.com/product_pages/products.php?mi=54201&itemnum=78075 | Water Test kit | Hach Phosphorus | Hach® Phosphorus, Orthophosphate (Reactive) Test Kit Model PO-19 This easy-to-use kit provides fast, reliable results. Uses color disc/ascorbic acid method. Results expressed as mg/L PO4. Includes one reagent, color disc, comparator box, two viewing tubes, viewing adaptor, two bottles, dropper tube, deionized water, instructions, and carrying case. Kit performs 100 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=54200&itemnum=78059 | Water Test kit | Hach Phosphate Test Kit | Hach® Phosphate Test Kit Model PO-23 This easy-to-use kit provides fast, reliable results. Uses the color disc/ascorbic acid method. Results expressed as mg/L PO4. Includes three reagents, color disc, comparator box, two viewing tubes, bottle, dropper tube, stove and cover, test tube clamp, deionized water, instructions, and carrying case. Kit performs 100 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94841 | Water Test kit | LaMotte SMART Reagents | Amonia Nitrogen, 0 – 3.0 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94833 | Water Test kit | LaMotte SMART Reagents | Manganese, 0 – 0.9 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94832 | Water Test kit | LaMotte SMART Reagents | Iron, 0 – 6.0 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94839 | Water Test kit | LaMotte SMART Reagents | Sulfide, 0 – 3.0 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94837 | Water Test kit | LaMotte SMART Reagents | Phosphate, 0 – 3.0 ppm, 50 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94842 | Water Test kit | LaMotte SMART Reagents | Dissolved Oxygen, 0 – 12 ppm, 100+ Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94823 | Water Test kit | LaMotte SMART Reagents | Bromine, 0 – 10 ppm, 100 Tests Chlorine, 0 – 4.0 ppm, 100 Tests Iodine, 0 – 15 ppm, 100 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94835 | Water Test kit | LaMotte SMART Reagents | Nitrite, 0 – 0.7 ppm, 20 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=54191&itemnum=78037 | Water Test kit | Hach Total Alkalinity Test Strips | Range: 0 to 240 mg/L. Increments: 0, 40, 80, 120, 180, 240 mg/L (ppm). Hach® Total Alkalinity Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=54190&itemnum=78020 | Water Test kit | Hach Chloride QuanTab Test Strips | Range: 300 to 6,000 ppm. Increments: 100 to 200 ppm increments. Hach® Chloride QuanTab® Test Strips Obtain fast quantitative results in the field or lab! Just dip the strip in the sample and then compare with the color scale printed on the bottle.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33271&itemnum=77125 | Water Test kit | LaMotte Environmental Test Kit | Alkalinity Environmental Test Kit Meets GLOBE Specifications Direct reading titration method for total alkalinity in terms of CaCO3, readings in ppm range 0-200 ppm in 4 ppm increments, two reagents. Makes 50 tests. Meets GLOBE specifications.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78018 | Water Test kit | Free Chlorine Test Strips | Range of 1.0, 5, 10, 20, 40, 80, 120 ppm. Color chart printed on the bottle. Bottle of 50. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/products.php?mi=15980&itemnum=78100 | Water Test kit | Free Chlorine Test Strips | Range of 1.0, 5, 10, 20, 40, 80, 120 ppm. Color chart printed on the bottle. Bottle of 50. ITS Test Strips Portable test strips make it easy to test on site for a variety of metals, pH and more.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33274&itemnum=77100 | Water Test kit | LaMotte Environmental Test Kit | Chlorine Environmental Test Kit Octet comparator method uses the DPD tablet method based on the DPD indicator. Two tablet reagents distinguish free and combined chlorine covering the comparator range of 0.2 to 3.0 ppm (values 0.2, 0.4, 0.6, 0.8, 1.0, 1.5, 2.0, and 3.0 ppm). Makes 50 tests each for free and total chlorine. One to three minutes per test. EPA accepted for NPDWR compliance monitoring.
https://www.forestry-suppliers.com/product_pages/products.php?mi=332715&itemnum=77164 | Water Test kit | LaMotte Environmental Test Kit | Turbidity Environmental Test Kit Turbidity column method. Sample in turbidity column is compared to second turbidity column to which a known amount of standardized turbidity has been added, readings in terms of Jackson Turbidity Units, range 5 JTU to 100 JTU. One reagent makes 50 tests, two to five minutes per test, 50 ml sample.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33273&itemnum=77148 | Water Test kit | LaMotte Environmental Test Kit | Chloride Environmental Test Kit Direct reading titration method uses potassium chromate-silver nitrate reaction. Results are expressed as ppm, range 0-200 ppm, includes salinity test procedure, two reagents, makes 50 tests, two to five minutes per test, 8.8 ml sample.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76632 | Water Test kit | LaMotte TesTab Reagent Refill
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77129 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 50. Range: 0-200 ppm/4 ppm as CaCO3.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77119 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 5. Tests: 50. Range: 0-200 ppm CaCO3.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77144 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 3. Tests: 50. Range: 0-200 ppm/4 ppm as CaCO3.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33161&itemnum=94840 | Water Test kit | LaMotte SMART Reagents | Amonia Nitrogen, 0 – 1.0 ppm, 25 Tests LaMotte® SMART Reagents For use with LaMotte® SMART3 Colorimeter or LaMotte® SMART Water Analysis Laboratory Note: These reagents are for use with the LaMotte® SMART3 Colorimeter (SN 94850) or the LaMotte® SMART Water Analysis Laboratory (SN 94825).
https://www.forestry-suppliers.com/product_pages/products.php?mi=332714&itemnum=77161 | Water Test kit | LaMotte Environmental Test Kit | Salinity Environmental Test Kit Direct reading titration, uses the Harvey adaptation of the potassium chromate-silver nitrate reaction, readings in parts per thousand of both salinity and chlorinity, range 0-20 ppt (0.4 ppt interval), three reagents, makes 50 tests, five minutes per test, 10 ml sample.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77106 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 90. Range: 0.5 ppm to 10.0 ppm (0.5, 1.0, 2.0, 3.0, 4.0, 6.0, 8.0, 10.0 ppm).
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77099 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 50. Range: 0.2 ppm - 3.0 ppm (0.2, 0.4, 0.6, 0.8, 1.0, 1.5, 2.0, 3.0 ppm).
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77051 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 2. Tests: 40. Range: 0, 0.2, 0.4, 0.6, 0.8, 1.0 ppm.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76994 | Water Test kit | LaMotte AQ-2 Test Kit Replacement Titrator | Chemically resistant plastic with one-piece plunger. Range: 0-200.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77093 | Water Test kit | Lamotte Phosphate Test Kit Reagent Refill | Reagents: 2. Tests: 50. Range: Low, 1.0 ppm to 10.0 ppm (1.0, 2.0, 3.0, 4.0, 5.0, 6.0, 8.0, 10.0 ppm); High, 10 ppm to 100 ppm (10, 20, 30, 40, 50, 60, 80, 100 ppm).
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77058 | Water Test kit | LaMotte Turbidity Test Kit Reagent Refill | Reagents: 1. Tests: 50. Range: 5 JTU - 100 JTU; 10 JTU - 100 JTU.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=76995 | Water Test kit | LaMotte AQ-2 Test Kit Replacement Titrator | Chemically resistant plastic with one-piece plunger. Range: 0-10.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77074 | Water Test kit | LaMotte Salinity Test Kit Reagent Refill | Reagents: 3. Tests: 50@20 ppt. Range: 0-20 ppt (0.4 ppt interval).
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77133 | Water Test kit | LaMotte Environmental Test Kit Refill | Reagents: 4. Tests: 50. Range: 0-200 ppm/ 4 ppm Cl-; 0-20.000 ppm/400 ppm Cl-.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=78512 | Soil Test kit | Soil Stability Kit Replacement Soil Spoon
https://www.forestry-suppliers.com/product_pages/products.php?mi=30631&itemnum=77170 | Soil Test kit | LaMotte Garden Guide Soil Test Kit Model EL (#5679) | Garden Guide Soil Test Kit Model EL (#5679) Contains: 30 pH, 15 nitrogen, 20 phosphorus, 15 potassium, 6 test tubes with stand, 2 booklets and polypropylene case LaMotte® Combination Soil Test Sets With Soil Booklets Two kits to choose from. Choose from two inexpensive combination soil test kits for measuring pH, nitrogen, phosphorus, and potassium. Easy, step-by-step instructions for test procedures. Measurements are made in graduated plastic test tubes. Test result readings are measured against mylar-laminated color charts. Results: High, Medium, Low. Two booklets, “A Study of Soil Science” and the “LaMotte Soil Handbook,” provide background information and data for interpretation of test results.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30650&itemnum=77208 | Soil Test kit | LaMotte STH-7 Soil Macronutrient Test Kit | LaMotte® STH-7 Soil Macronutrient Test Kit Fast and Easy Results Quickly diagnose soil nutrient issues in the field and save time transporting samples back for analysis. Visual color matching system delivers accurate results. This kit comes in a lightweight carrying case with components securely mounted in removable foam trays. Includes complete instructions, a soil management handbook, and pad of soil analysis report forms. LaMotte Macronutrient Test Kit includes 100 pH tests from 3.8 to 9.6; 50 nitrate nitrogen tests, 10 to 150 lb./acre; 50 phosphorus tests, 100 to 400 lb./acre; 50 potassium tests, 100 to 400 lb./acre; 50 humus (organic matter) tests, L-H 1.5 to 8%; 50 calcium tests, 150 to 2800 ppm; and 50 magnesium tests, L-H 5 to 150 ppm.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30681&itemnum=77181 | Soil Test kit | Lovibond Soil pH Test Kit | Lovibond® Soil pH Test Kit Exceptional accuracy for any type of soil – sand, clay or peat. Measure soil pH from 4.0 to 8.5 in 0.5 pH increments. Inert white powder draws special pH reagent to soil surface for positive comparison to color chart (supplied). White powder covers soil sample to eliminate soil color from interfering with pH reagent color. Contents sufficient for 200 tests. Complete in plastic box.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30641&itemnum=77175 | Soil Test kit | LaMotte Model AM-32 Soil Test Kit | LaMotte® Model AM-32 Soil Test Kit Test for nine important factors in plant nutrition. Provides four individual modules of test equipment covering nine test factors important in plant nutrition. Module A: calcium and chlorides. Module B: ammonia and nitrite nitrogen. Module C: magnesium and manganese. Module D: iron, aluminum, and sulfate. Reagents provided for making 50 tests on each factor. Results: ppm. Soil science handbook and complete instructions included. All materials supplied in lightweight carrying case.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30621&itemnum=77173 | Soil Test kit | LaMotte Model AM-31 Soil Test Kit | LaMotte® Model AM-31 Soil Test Kit All the essential materials for establishing an accurate, detailed soil evaluation program. Individual modules of chemical test equipment provided for soil pH, nitrogen, phosphorus, and potassium. Results: lbs./acre. Each module includes detailed instructions and sufficient reagents for making 50 tests. Also contains LaMotte Soil Texture and Classification Unit, soil sampling tube, and soil sampling bags. Soil science handbook and complete instructions included. Materials are arranged in lightweight carrying case.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30631&itemnum=77172 | Soil Test kit | LaMotte Deluxe Garden Soil Test Kit Model EM (#5934) | Deluxe Garden Soil Test Kit Model EM (#5934) Contains: 60 pH, 30 nitrogen, 40 phosphorus, 30 potassium, 10 test tubes with stand, 2 booklets and polypropylene case LaMotte® Combination Soil Test Sets With Soil Booklets Two kits to choose from. Choose from two inexpensive combination soil test kits for measuring pH, nitrogen, phosphorus, and potassium. Easy, step-by-step instructions for test procedures. Measurements are made in graduated plastic test tubes. Test result readings are measured against mylar-laminated color charts. Results: High, Medium, Low. Two booklets, “A Study of Soil Science” and the “LaMotte Soil Handbook,” provide background information and data for interpretation of test results.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30651&itemnum=77070 | Soil Test kit | LaMotte Soil Analysis Kit | LaMotte® Soil Analysis Kit Designed to help you maintain balanced fertility levels in agricultural soils. Tests for nitrate nitrogen, potassium, phosphorus, magnesium, manganese, aluminum, sulfates, ammonia nitrogen, nitrite nitrogen, chlorides, ferric iron, calcium, humus, and pH. Contains solutions and equipment for 50 tests for each element and 100 tests for pH. Results for nitrite nitrogen, nitrate nitrogen, phosphorus, and potassium are given in lbs./acre. Humus results are given in a %. All other parameters are given in ppm. Major element qualitative tests can be performed on green plant tissue for nitrogen, phosphorous, and potassium. Complete instructions included.
https://www.forestry-suppliers.com/product_pages/products.php?mi=30661&itemnum=77330 | Soil Test kit | LaMotte Soil Texture Kit | LaMotte® Soil Texture Unit Classify soils according to their clay-silt-sand composition. Included are three calibrated conical tubes with a stand, in addition to dispersing reagent and flocculating reagent that work together to speed settling of finely divided particles. Instructions explain method for breaking down soil samples into sand, silt and clay fractions. “A Study of Soil Science” handbook (available as a PDF on LaMotte’s website) offers background information on weathering and its relationship to soil formation. Provides for 50 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=73741&itemnum=78511 | Soil Test kit | Soil Stability Kit | Soil Stability Kit A valuable tool for quantifying soil stability, this affordable kit allows for rapid data collection and easy field evaluation of relatively undisturbed soil samples. Using the kit, 18 samples can be tested in the field in 10 minutes with no drying or weighing required. This is the specified kit in the Monitoring Manual for Grassland, Shrubland and Savanna Ecosystems; Interpreting Indicators of Rangeland Health; and National Rangeland Inventory Protocol.
https://www.forestry-suppliers.com/product_pages/products.php?mi=39720&itemnum=77711 | Soil Test kit | Hanby TPH Soil Kit | Hanby TPH Soil Test Kit Designed to save time and money by significantly reducing the dependence on off-site laboratory analysis, the Hanby system is a field portable method that provides rapid analyses down to parts-per-million for aromatic compounds, including gasoline, diesel, PCB's and many others. The procedure extracts the aromatic compounds from the sample and provides immediate colorimetric identification of the concentration and type of contaminants present. The results of the test compare consistently from sample to sample over a wide range of concentrations in soil, fresh water and salt water. This self-contained portable soil laboratory kit includes all of the materials necessary for non-technical personnel to use in the field with ease. Contains: 15 ampoules extraction reagent; 15 vials of color development reagent; 15 screw top test tubes w/scribed measurement; 1 wooden test tube rack; 10 photo ID cards depicting various petroleum concentrations; 6 beakers; 1 electronic balance; 1 waste bottle; 1 graduated cylinder; 3 pairs of safety gloves; 1 pair of safety glasses; 1 safety manual; 1 procedure manual; and 1 instructional video.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77174 | Soil Test kit | LaMotte Model AM-31 Soil Test Kit Refill | Refill provides reagents for 50 tests.
https://www.forestry-suppliers.com/product_pages/products.php?mi=39730&itemnum=77710 | Soil Test kit | Hanby TPH High Range Soil Kit | Hanby TPH High Range Soil Kit Designed to save time and money by significantly reducing the dependence on off-site laboratory analysis, the Hanby system is a field portable method that provides rapid analyses down to parts-per-million for aromatic compounds, including gasoline, diesel, PCB\'s and many others. The procedure extracts the aromatic compounds from the sample and provides immediate colorimetric identification of the concentration and type of contaminants present. The results of the test compare consistently from sample to sample over a wide range of concentrations in soil, fresh water and salt water. This TPH High Range Kit has standards that are based on the Texas Railroad Commission\'s Rule 91 pertaining to oil field spills from wells, pipelines, tank cars, etc. The reagents in this kit are able to determine a higher level of contamination for hazmat teams and immediate cleanup needs. The calibration results can range from 50,000 down to 500 ppm. Contains: 15 ampoules extraction reagent; 15 vials of color development reagent; 15 screw top test tubes w/scribed measurement; 1 wooden test tube rack; 10 photo ID cards depicting various petroleum concentrations; 6 beakers; 1 electronic balance; 1 waste bottle; 1 graduated cylinder; 3 pairs of safety gloves; 1 pair of safety glasses; 1 safety manual; 1 procedure manual; and 1 instructional video.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77176 | Soil Test kit | LaMotte Model AM-32 Soil Test Kit Refill | Refill provides reagents for 50 tests.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=78513 | Soil Test kit | Soil Stability Kit Replacement Sieve
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77069 | Soil Test kit | LaMotte Soil Analysis Kit Refill Package | Contains 100 tests for pH and 50 tests for each element including nitrate nitrogen, potassium, phosphorus, magnesium, manganese, aluminum, sulfates, ammonia nitrogen, nitrite nitrogen, chlorides, ferric iron, calcium, and humus.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77331 | Soil Test kit | LaMotte Soil Texture Kit Reagents Refill | Provides reagents for 50 tests.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77713 | Soil Test kit | Hanby TPH Soil Refill Set
https://www.forestry-suppliers.com/product_pages/products.php?mi=22320&itemnum=77257 | Soil Test kit | LaMotte Macronutrient Plant Tissue Test Kit | LaMotte® Macronutrient Plant Tissue Test Kit Identify Nutrient Levels in Soil Simple field tests let you see whether growing plants are receiving adequate amounts of nutrients from the soil. All tests deliver qualitative results for each nutrient so you can track down nutrient deficiencies as well as excessive nutrient conditions. Kit includes: tests for nitrates, phosphorus, and potassium. A single liquid extract is used with all three tests which gives you qualitative results of abundant, adequate, or deficient. Reagents included for 50 tests per factor.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33461&itemnum=79018 | Soil Test kit | Dexsil Clor-N-Soil PCB Screening Kit | Dexsil Clor-N-Soil PCB Screening Kit Developed for fast on-site detection of PCB in soil. Works on all types of soil including sand, topsoil, sediment, and clay. Complete analysis time is about 10 minutes. The kit gives positive or negative colorimetric result to scale of 50 ppm. Kit includes stainless steel scoop, hand-held scale, extraction test tube, organic extraction solvent, filter-syringe assembly, reaction test tube, indicator test tube, and complete step-by-step instructions. Conducts one test only. Note: Restricted. Cannot ship internationally.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77185 | Soil Test kit | Lovibond Reagent N Solution Refill
https://www.forestry-suppliers.com/product_pages/products.php?mi=33421&itemnum=79019 | Soil Test kit | Dexsil Clor-N-Oil PCB Screening Kit | Dexsil Clor-N-Oil PCB Screening Kit Determine if fluid can be classified as PCB or not in less than five minutes Portable and simple to use, the kit gives positive or negative colorimetric result to scale of 50 ppm. Kit includes disposable polyethylene pipet for obtaining sample, two test tubes with pre-measured test ampoules, and complete step-by-step instructions. Conducts one test only. Note: Restricted. Cannot ship internationally.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33460&itemnum=79014 | Soil Test kit | Dexsil Clor-D-Tect 1000 Kit | Dexsil Clor-D-Tect® Kits Test kits determine contamination in waste oil or solvents Clor-D-Tect 1000 Test Kit is a semi-quantitative test that reveals if a sample contains more or less than 1000 ppm chlorine. Clor-D-Tect Q4000 Test Kit shows results over a 200 to 4000 ppm range. Clor-D-Tect has been assigned ASTM Method D-5384 and USEPA SW-846 Method 9077. Contains one test per kit.
https://www.forestry-suppliers.com/product_pages/products.php?mi=39740&itemnum=77712 | Soil Test kit | Hanby TPH Water Kit | Hanby TPH Water Kit Designed to save time and money by significantly reducing the dependence on off-site laboratory analysis, the Hanby system is a field portable method that provides rapid analyses down to parts-per-billion for aromatic compounds, including gasoline, diesel, PCB\'s and many others. The procedure extracts the aromatic compounds from the sample and provides immediate colorimetric identification of the concentration and type of contaminants present. The results of the test compare consistently from sample to sample over a wide range of concentrations in soil, fresh water and salt water. This self-contained portable water laboratory kit includes all of the materials necessary for non-technical personnel to use in the field with ease. Contains: 15 ampoules extraction reagent; 15 vials of color development reagent; 15 screw top test tubes w/scribed measurement; 1 wooden test tube rack; 10 photo ID cards depicting various petroleum concentrations; 1 500 ml separatory funnel w/ ring stand; 1 waste bottle; 1 graduated cylinder; 3 pairs of safety gloves; 1 pair of safety glasses; 1 safety manual; 1 procedure manual; and 1 instructional video.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77182 | Soil Test kit | Lovibond Reagent M Powder Refill
https://www.forestry-suppliers.com/product_pages/products.php?mi=31360&itemnum=54002 | Soil Test kit | Bel-Art 125mL/4 oz. Sterile Scoops | Bel-Art® Scienceware® Sterile Scoops Ideal for micro and environmental sampling. Scoops are the perfect shape and size for taking samples, especially from wide-mouth containers. White, high-impact polystyrene. Carefully sterilized and individually packed in polyethylene bags. Pack of 100.
https://www.forestry-suppliers.com/product_pages/products.php?mi=33460&itemnum=79015 | Soil Test kit | Dexsil Clor-D-Tect Q4000 Kit | Dexsil Clor-D-Tect® Kits Test kits determine contamination in waste oil or solvents Clor-D-Tect 1000 Test Kit is a semi-quantitative test that reveals if a sample contains more or less than 1000 ppm chlorine. Clor-D-Tect Q4000 Test Kit shows results over a 200 to 4000 ppm range. Clor-D-Tect has been assigned ASTM Method D-5384 and USEPA SW-846 Method 9077. Contains one test per kit.
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77715 | Soil Test kit | Hanby TPH High Range Refill Set
https://www.forestry-suppliers.com/product_pages/ViewItem.php?itemnum=77714 | Soil Test kit | Hanby TPH Water Refill Set